Triton User Guide

A software package for evaluating acoustic data sets

Contents

1 Quick Setup	3

1.1 Required Software	3

1.2 Install Triton	3

1.3 Start Triton	4

1.4 Open, Display and Play Example Sound File	5

2 Triton Overview	8

2.1 Summary	8

2.2 Features	8

2.3 Long Term Spectral Average (LTSA)	9

2.4 Remoras	10

2.4 Transfer Function	11

3 Triton Windows	12

3.1 Plot Window	12

3.2 Control Window	14

3.2.1 Band Pass, Axis Limits, and Play Sound pop-up windows	17

3.2.2	File Menu	18

3.2.3 Settings Menu	18

3.2.4 Tools Menu	19

3.2.4.1 Convert Single HARP Raw File	19

3.2.4.2 Load and Apply Transfer Function	20

3.2.4.3 Decimate	21

3.2.4.4 Create LTSA	21

3.2.5 Remoras Menu	23

3.2.5.1 Add, Execute, and Remove Remoras	23

3.2.5.2 Remora Requirements	25

3.2.5.3 Best Practices	25

3.2.5.4 Example Remora: Hello World	26

3.2.5.5 HARP Raw File Remora: HRP	26

3.2.6 Help Menu	27

3.3 Message Window	28

3.3.1 File Menu	29

Appendix A1- HARP Raw Disk Format	30

Non-Compressed, Single Channel	30

Non-Compressed, Four Channel	31

Compressed, Single Channel	32

Appendix A2- XWAV File Format	33

Appendix A3- Software Routines (*.m files)	35

# 1 Quick Setup

## 1.1 Required Software

The Triton software package was developed using MATLAB (www.mathworks.com), a high-level technical computing language.  Triton is typically executed from within MATLAB running on a Windows operating system. Triton may function on other MATLAB-supported operating systems such as Mac OS and Linux, and can be compiled to run as a stand-alone executable; however, additional testing and development may be needed for these unsupported cases.

## 1.2 Install Triton

- Download the most recent release of Triton as a compressed file (Triton1.93.20YYMMDD.zip) from the Scripps Whale Acoutic Laboratory’s web site: http://cetus.ucsd.edu/technologies_Software.html

- Extract the *.zip file into a folder or directory, such as D:\Triton\

- Start MATLAB and set path to include Triton’s folders by using the Set Path option in MATLAB’s Home tab:

- In the Set Path window, remove folders from other versions of Triton with the Remove button.

- Click Add Folder… button, browse and select the folder containing the new extracted version of Triton.  NOTE: Adding with subfolders may cause issues with Remora behavior

- Click Save and then Close buttons at bottom of Set Path Window.

## 1.3 Start Triton

- At the MATLAB command prompt >> type triton to start Triton:

- Three windows will be displayed: Plot, Control, and Message:

- Plot Window (Right) - Displays plots of acoustic time series, spectra, spectrograms and Long Term Spectral Average (LTSA).

- Message Window (Lower Left) – Displays information and warnings from users’ actions such as Plot Window cursor location along with selected data values.

- Control Window (Upper Left) – Controls plotting parameters for Plot Window and various file functions.

## 1.4 Open, Display and Play Example Sound File

- From the Control Window, select File, Open WAV File:

- Browse to Triton\Extras\ folder, select humpback.wav file, and click Open:

- When the Set Start Time Window pops up, select OK:

- The first second of a recorded humpback call will be displayed as a time series waveform in the Plot Window. Show the full recording by changing the Plot Length in the Control Window to 20 and the plot will adjust to length of the recording (19s):

- Select the Spectrogram button in the Control Window to display the time-frequency representation of the recording in the Plot Window:

- Adjust the Plot Window  parameters by modifying the following Control Window values:

  - Plot Frequency End: 2000

  - FFT Length:  3000

  - %Overlap: 75

- Your Plot Window should appear as:

- If your computer has a sound card with speakers or headphones attached, you can play the sound by selecting Play Sound button in the middle of the Control Window which will open a pop up window:

- Push the play button  to play the sound.

# 2 Triton Overview

## 2.1 Summary

Triton has had various development cycles since it was started ~2000, but over the years it has retained its two primary goals.  The first is to provide a tool which can be used to evaluate marine acoustic recordings from Acoustic Recording Packages (ARPs), more recently from High-frequency Recording Packages (HARPs) 2, and other devices with WAV-formatted files.  These data are typically single or multi- channel, long duration (up to one year or longer), continuous and scheduled duty-cycle sound pressure time series.  The time series data are often transformed to the spectral domain for evaluation as power spectra, spectrograms and Long-Term Spectral Averages (LTSA).  Triton provides the necessary tools to quickly review a large data set via an easy to use graphical user interface (GUI).

The second goal behind the development of Triton is to allow for additional features and enhancements to be added by users familiar with programming with MATLAB.  For example, event detection, classification, logging, and localization algorithms along with other processing tools are currently being developed for use with Triton, utilizing Triton’s data management tools, GUI, and most recently, the Remora add-in capabilities.

## 2.2 Features

- Read raw HARP data and convert into XWAV files. XWAV files are similar to WAV files, but also may contain additional header information such as instrument location, depth, name, and most importantly, time and date (see Appendices A1 & A2 below).

- Display, modify, and advance through plot frames of time series, spectrogram, and spectra from single and multi- channel WAV and XWAV files

- Create and display LTSAs from a collection of WAV or XWAV files providing long-term spectrograms with quick and easy linking to the finer-scale originating WAV or XWAV files by simply clicking on an event of interest in the LTSA plot frame (see LTSA section below)

- Save displayed data as mat-file, WAV, XWAV, JPEG, or other graphical file types

- Decimate high sample rate data files and save as lower sample rate XWAVs to allow for easier analysis of low frequency sounds, for example, baleen whale call analysis from ultra-sonic data.

- Easily add user-developed features with the Remora tool

## 2.3 Long Term Spectral Average (LTSA)

LTSA (Long-Term Spectral Average) plots allow large time-series data sets to be viewed and analyzed, including searching for, noting, and evaluating acoustically significant events, such as dolphin and whale calls or anthropogenic sources. In 2010, each HARP (High-frequency Acoustic Recording Package) deployment was capable of producing over 11,000 XWAV files (~10 TB total for 0.9 GB XWAV files), but viewing and analyzing each one of these XWAV files is not practical. LTSA plots provide a means of presenting an overview of these large data sets in a compressed format and allow quick linking to noteworthy events in the finer time scale XWAV data, which were originally used to generate the LTSA plots.

An LTSA of time-series data is essentially a spectrogram (three dimensional time-frequency-energy plot) where each power spectra plotted along time is averaged over a longer period than for a typical spectrogram (i.e., great than one windowed frame of a Fast-Fourier Transform (FFT)). The quantization time of an LTSA is defined as the duration over which consecutive single-window spectra are averaged.  The averaged-spectra are then plotted sequentially with energy shown as color.

Above is an example of a 24 hour LTSA from 35 GB of 16-bit sample data sampled at 200 kHz off the shore of Southern California.  Notice how well ship echosounders and dolphin clicks and whistles can be identified, and periods or frequencies that are relatively quiet.

The LTSA plot above is from the first two hours of the previous figure, and the three plots A, B, and C below it are spectrograms from the XWAVs used to generate the LTSA at the corresponding times A, B, and C in the LTSA plot. The three spectrograms were displayed by using the Expand function and selecting the events of interest in the LTSA plot. The 50 kHz tonal from a ship’s echo sounder in the LTSA appears at pulses in the 10s spectrogram (A), broadband stripes in the LTSA are dolphin echolocation clicks (B), and dolphin whistles appear as narrow-band pulses in the LTSA (B & C).  See sections below on how to generate and use LTSAs.

## 2.4 Remoras

Remoras are user-developed MATLAB software routines that can be added in to Triton. Remoras provide a means to allow users to customize Triton to fit their own specific needs without modifying Triton’s core routines. Three sample Remoras are included with Triton in the \ExampleRemoras\ folder: HRP, Logger, and HelloWorld. The HRP Remora allows users to work with data and headers of raw HARP files (*.hrp), including header values and raw file timing directory list display and time check, and converting raw files to XWAVs. The logger Remora allows for analysts to precisely log interesting detections found in the LTSA or spectrogram according to species and call type. The HelloWorld Remora plots a spectrogram of the humpback.wav example file and in its coding, provides details on how to use the mouse click button and how to set up user-defined hot-keys.

## 2.4 Transfer Function

Transfer functions (TF) are used to convert data from one unit or metric to another potentially more meaningful unit.  In the case of a HARP system, the recorded data are in units of the analog-to-digital converter (ADC i.e., [counts]).  These counts are related through a frequency dependent TF to pressure [µPa] at the hydrophone. Two main conversions occur within this system.  The first is at the hydrophone where time-varying pressure is converted to time varying voltage, amplified and filtered providing a frequency dependent response to pressure. The second conversion is in the data logger where the hydrophone preamplifier analog voltage signal is digitized and stored on digital media such as hard disk drives.  The details of these conversions are often applied in reverse to correct the recorded data back into meaningful physical units.

Since XWAV data files units are in [counts] representing the physical units of pressure [µPa], the TF is described as the inverse sensitivity or 1/sensitivity [dB re µPa/counts] and is frequency dependent. Spectra and TFs levels are often described in logarithmic base-10 decibel [dB] units because of a large dynamic range of the sound signals. Currently in Triton, the transfer function is only applied to spectra plots, not LTSA, spectrogram nor time series plots.  The TF is applied to spectra plots via a user generated TF file consisting of two columns: one with Frequency [Hz] and the other with 1/sensitivity [dB re µPa/counts]. The TF file is an ascii text file with extension *.tf.

Transfer Function Calculation:

The inverse sensitivity for a TF file is calculated in via the negative of the sum, in dB, of the following three TF components:

1) Sensor sensitivity (Ceramic/PZT/hydrophone – can be frequency dependent or flat response) [dB re V/µPa] Open Circuit Received Response

2) Preamplifier + Filter Board Gain (usually frequency dependent i.e., gain varies with frequency in TF file) [dB]

3) Analog-to-digital converter (ADC – usually flat response)   [dB re counts/V]

Sensitivity = [dB re counts/µPa] = [dB re V/ µPa] + [dB] + [dB re counts/V]

Example HARP TF calculation:

ITC-1042: ~ -202 dB re V/ µPa

600 series preamplifier:  + 50 dB gain

ADC (16-bit, 0-5.0V range): 20*log10(216counts/5.0V) = +82 dB re counts/V

Inverse sensitivity = - (-202 +50 +82) = +70 dB re µPa/counts

Important: The inverse sensitivity is the negative of the sum, in dB, of the sensor sensitivity, preamp gain and ADC voltage quantization.

For more detailed description of TF calculations see Triton subroutine loadTF.m.

# 3 Triton Windows

## 3.1 Plot Window

The Triton Plot Window is a standard MATLAB figure window, allowing it to be modified, saved or exported in various formats, and printed.  All pull-down menus and tools are the same as typical MATLAB figure windows except the zoom in/out tools which will modify the Plot Start Time after zooming in and deselecting the tool.

Components of the Plot Window:

- LTSA file name

- LTSA plot

- LTSA Plot Start Time

- LTSA parameters

- XWAV/WAV file name

- Spectrogram plot

- Spectrogram parameters

- Time series plot

- Spectra plot

- Spectrogram/Time Series/Spectra Plot Start Time

- Spectra parameters

Triton can also display multichannel data as spectrograms, time series or spectra. For example, the two Plot Windows below show spectrogram of fin whale calls from a km-scale array on the top and time series of dolphin clicks from meter-scale array on the bottom.

This feature has only been tested with 4 channel data, but multichannel functionality should work for any number of channels up to some practical display limit, for example, ~ 8 channels.

## 3.2 Control Window

The Control Window allows users to open, convert, and plot data files in addition to controlling various plotting parameters.  The Control Window has three main sections: pull-down menus at the top, light green LTSA plot control in the upper half, and the light blue XWAV/WAV plot control in the lower half.

- File, Settings, Tools, Remoras, and Help pull-down menus – see next section for details.

- Radio buttons to toggle on/off the different plot types: LTSA, Spectrogram, Timeseries, and Spectra.  Note the Control Window color scheme: LTSA plot control is light green, and the XWAV/WAV plot controls are light blue.

LTSA Plot Control – Light Green

- Plot Start Time – Display and change LTSA plot start time

[mm/dd/yyyy HH:MM:SS]

- Plot Length  – LTSA plot frame display length [hr]
Time Step – LTSA advancement size between start of successive plot frames [hr].  Set to -1 for sequential plot advancement of one Plot Length frame of data.

Set to -2 for next Plot Start Time = current Plot Start Time + Plot Length.

Settings -1 and -2 are different only for non-continuous data.
Auto Time Delay – Time delay in seconds between displaying plot frames during auto forward and auto rewind functions

- Plot Frequency – LTSA plot Start and End frequencies [Hz], and delimiter button for the LTSA plot (shows breaks in non-continuous data).

- Brightness and Contrast adjustments for LTSA plot.  Adjustments can be made with the sliders, arrows, or by entering values.

- Equalization – ON/OFF button to subtract average LTSA levels from plotted LTSA.  Average LTSA is from either Full plotted frame or shorter user Picked window.

Dropdown list to select LTSA plot color map.

Expand button activates cross hairs to pick an event time in the LTSA plot and open the originating XWAV/WAV file at the corresponding picked time (see LTSA selection below).

- LTSA plot frame  motion step buttons:

| Button | Description | Keyboard Hot Key |
| --- | --- | --- |
| ¦< | Go to start of LTSA file |  |
| << | Auto Rewind | Ctrl down arrow |
| < | Rewind one step | Ctrl left arrow |
| Stop | Stop Auto Rewind or Forward | Ctrl space bar |
| > | Forward one step | Ctrl right arrow |
| >> | Auto Forward | Ctrl up arrow |
| >¦ | Go to end of LTSA file |  |

XWAV/WAV Plot Control – Light Blue

- Plot Start Time - Display and change XWAV/WAV plot start time.

[mm/dd/yyyy HH:MM:SS]

- Plot Length – XWAV/WAV plot display length [s]
Time Step – XWAV/WAV plot step size between the start of plot frames [s].

Set to -1 for steps equal to one Plot Length frame of data.  
Auto Time Delay – Time delay in seconds between plot frames during auto forward and auto rewind (see below)

- Band Pass Filter – button brings up bandpass filter window (see below)

Axis Limits – button brings up timeseries amplitude and spectra level amplitude limits (see below).

Play Sound – button brings up play sound window (see below, and Quick Start).

TF - radio button to turn on/off transfer function correction for Spectra plot only (See transfer function section).  Need to load transfer function from Control Window Tool pull-down menu (see next section).

Delimiter – on/off radio button for Timeseries and Spectrogram plot vertical line delimiter between ‘raw files’

MultiChan – if multiple channel XWAV/WAV file is loaded, radio button to switch between single channel and multichannel mode which affects how data are presented in the Plot Window.

- Plot Frequency – XWAV/WAV plot Start and End frequencies [Hz].

Sp Lin/Log – radio buttons to toggle between linear and logarithmic frequency axes for Spectra plots

SG Lin/Log – radio buttons to toggle between linear and logarithmic frequency axes for Spectrogram plots

- FFT length – Length of Fast Fourier Transform (FFT) window in samples
%Overlap – Percent of Window overlap
Window Type – Hanning is currently the only available window type.

- Brightness and Contrast adjustments for Spectrogram plot.  Adjustments can be made with the sliders, arrows, or by entering values.

- SG Equalization – Toggle On/Off removal of average Spectrogram levels.  Toggle between Full plot frame average or shorter user Picked window to be subtracted from Spectrogram levels.

Dropdown list to select Spectrogram color map.

- Time slider – Display and adjust the relative position of the Plot Start Time of the loaded XWAV/WAV file. Adjust start time by selecting arrows or moving slider.

- XWAV/WAV plot frame motion step buttons:

| Button | Description | Keyboard Hot Key |
| --- | --- | --- |
| p | Load previous file in directory |  |
| ¦< | Go to beginning of loaded file |  |
| << | Auto rewind | down arrow |
| < | Rewind one step | left arrow |
| Stop | Stop Auto Rewind or Forward | space bar |
| > | Forward one step | right arrow |
| >> | Auto forward | up arrow |
| >¦ | Go to end of loaded file |  |
| n | Load next file in directory |  |

### 3.2.1 Band Pass, Axis Limits, and Play Sound pop-up windows

Band Pass, Axis Limits and Play Sound pop-up windows are accessed via the buttons on line 11 of the XWAV/WAV section above in the Control Window:

Bandpass: Filter of loaded data is toggled ON/OFF with radio buttons and Low and High corner frequencies for filter are set via the editable fill-in text boxes.

Amp+Levels: Timeseries plot amplitude and Spectra plot level limits are set via editable fill-in text boxes. MATLAB autoscaling is used when Manual Scaling buttons are toggled Off.

Play sound: Displayed data sound is played through computer sound card and speakers (see Quick Start section above).

Speed factor of sound playback: 0.1 to 10 times loaded file’s sample rate.  Speed up low frequency sounds and slow down high frequency sounds.

Volume of sound playback, also adjust through computer operating system.

- play sound through computer sound system.

Stop sound play back.

Hint: Use the bandpass filter to remove dominate low frequency sounds (noise) before playing higher frequency sounds.

### File Menu

- Open LTSA, XWAV or WAV files.

- Export plotted data as WAV, XWAV, or MAT- files

Save plotted data as JPEG or MATLAB  FIG files

Export Triton program parameters PARAMS to MAT file

- Exit- Exit Triton

### 3.2.3 Settings Menu

When Triton is started the three windows, Plot, Control, and Message, are placed to fill a single monitor’s full screen. These windows can be resized and repositioned as is typical for MATLAB windows.  If a different window configuration than the default is desired, for example, moving the Plot Window to a second monitor at full screen, the new configuration can be saved, loaded or set for the next Triton start up with the Settings pull-down menu. Likewise, plotting parameters such as length, spectral parameters, brightness and contrast, etc., can be saved, loaded or set for startup within Settings.

### 3.2.4 Tools Menu

- Convert Single HARP FTP/USB File to XWAV (used for lab and deck tests)

- Load Transfer Function TF File

- Decimate XWAV or WAV Files

- Make LTSA from Directory of Files

#### 3.2.4.1 Convert Single HARP Raw File

As part of standard HARP instrument lab or deck tests, single raw HARP files are converted, loaded, and plotted to evaluate system performance:

- Select Convert Single HARP Raw File to XWAV from the Tools pull-down menu, the Set Conversion Parameters pop-up window will appear:

- Since HARP raw files do not have embedded conversion parameters, set conversion parameters as needed:

Sample Frequency (Hz)

File Type (whether FTP’ed via HARP or dd’ed via PC)

Number of Channels

Data Type

Remove FIFO noise

- Select Convert button and an Open Raw HARP File to convert to XWAV format window will appear, choose file, select Open button.

- Save XWAV File window will appear, choose folder to save converted file, change save file name if needed, select Save button.

- The converted data file will be loaded into Triton and appear as a 10 second time series in the Plot Window.

#### 3.2.4.2 Load and Apply Transfer Function

For details about Transfer Functions (TFs), see Transfer Function section in Triton Overview above. TFs are only applied to Spectra and Spectrogram plots in Triton, not Timeseries nor LTSAs; however, Remoras could be developed to do so if needed.

- From Control Window File pull-down menu: Open XWAV/WAV File to load a data file.

- From Control Window Tools pull-down menu: Load Transfer Function File

Browse and select the transfer function file (*.tf ) to load. (An example *.tf file is in the Triton\Extras\ folder)

Click Open button, the transfer function is loaded, but not yet applied to the Spectra

- From Control Window, select Spectra radio button.

- In the Control Window set spectral parameters as needed for Spectra plot and select the TF radio button:

- A comparison between uncorrected (left) and corrected (Example TF applied, right) spectra:

- Example_invSensit.tf, used in this example, is a two column file with the first column frequency (Hz) in steps increasing by a factor of 10 (i.e., 1, 10, 100, … 100000) and the second column is inverse sensitivity in dB re µPa/counts decreasing each step by 20 (i.e., 100, 80, 60 … 0) which is added to the uncorrected spectra.

#### 3.2.4.3 Decimate

Decimation can be useful in reducing XWAV or WAV file size and effective sample rate for quicker processing and analysis of low frequency sounds. For example, recordings with 200 kHz sample rate can be reduced by a factor of 100 to 2 kHz sample rate for evaluating baleen whale calls.

- Select Decimate from the Tools pull-down menu and choose to Decimate Single or Decimate All XWAV or WAV File(s) depending on data to decimate.

- Select Open or Select Folder button.

- A decimation factor pop-up window will appear, enter decimation factor and select OK button.

- A window will pop-up to choose where to save single or all files. Change name and folder as needed.

#### 3.2.4.4 Create LTSA

Long-Term Spectral Averages (LTSAs) are a powerful approach for evaluating long duration acoustic data sets (see Triton Overview/LTSAs section above). In addition to scrolling through large data sets quickly, LTSAs provide a graphical index and link into the fine-scale data used to make LTSAs so that events of interest can be investigated in fine detail.

- Select Make LTSA from Directory of Files from Tools pull-down menu in Control Window.

- Select file type, Type ‘1’ for WAV files or ‘2’ for XWAV files; select OK.

- Select folder of WAV or XWAV files to be used to make LTSA.

- Note that Triton currently only supports the following WAV filename formats:

  - yymmdd-HHMMSS

  - yymmdd_HHMMSS

  - yyyymmdd_HHMMSS

  - yymmddHHMMSS

  - yyyymmddTHHMMS

- Set Long-Term Spectrogram Parameters

  - Time Average – length of time for each spectral average (i.e., time bin size or Tave).

  - Frequency Bin Size  for LTSA [Hz]

| LTSA parameters are typically data sample rate dependent. The default parameters (5s averages and 200 Hz frequency bins) are for broad-band HARP data sampled at 200 kHz. For lower sample rate such as ARP data (eg. 500 Hz or 1000 Hz), longer time averages and smaller frequency bins may be useful to keep LTSA files small (eg., 120s and 1 Hz). - Select folder to save LTSA – typically choose the same folder as the XWAVs or WAV files so that the LTSA can provide a link and index to these fine scale data files. The amount of time required to create the LTSA depends upon the LTSA parameters, the type and quantity of data to be processed, and the speed of the computer. Typical processing time can be over one hour. After choosing the LTSA output folder, generation of the LTSA is started and a pop-up dialog box showing the progress of the processing is displayed: After the LTSA has been created, it is displayed in the Plot Window. To investigate a sound of interest from the LTSA Plot Window: - Select the Expand radio button in the light green area of the Control Window. |  |
| --- | --- |

- Place the mouse cross-hairs cursor on the LTSA plot at the time of interest, left click the mouse button to select, XWAV or WAV file Spectrogram plot will be displayed along with XWAV/WAV Control Window parameters (light blue).

- Select Timeseries and/or Spectra radio buttons to display these plot types.

- XWAV/WAV plots can be modified as usual, or updated when another event is chosen via the Expand button.

### 3.2.5 Remoras Menu

Remoras are user-developed MATLAB m-files that can be added to Triton to increase its functionality without modifying the core functions of Triton.

#### 3.2.5.1 Add, Execute, and Remove Remoras

- In the Control Window, Remoras pull-down menu, select Add Remora.

- Choose the folder that has the files of your Remora:

- Select Yes from pop-up window to restart Triton:

- Execute the added Remora via the Remora pull-down menu:

- Hello World Remora figure window:

- To remove a Remora, Control Window, Remoras pull-down menu, Remove Remora, select Remora folder to remove:

- From the next pop-up window, select Remove to remove it from the Remoras pull-down menu and Remora folder. Select Backup to also remove it from the same pull-down menu and folder, but additionally save the Remora to another folder for future work or backup:

- Select Yes from pop-up window to restart Triton:

#### 3.2.5.2 Remora Requirements

To function as a Remora, there are three minimum requirements for the Remora code set:

- Remora folder - Upon adding a Remora, Triton will copy your Remora folder to the \Remora\ folder and add it to MATLABs path.  The name should be unique and the contents should only be Remora code or supplemental files.

- initialize.m – After a Remora is added to Triton, this file initializes the Remora code, creating interfaces and executing desired callback functions.  The file must be named “initialize.m” for the Remora to function.

- YourFunction.m – One or more files containing the function callbacks for your Remora.  Naming conventions are not required as long as they are not the same as Triton’s built in functions.

#### 3.2.5.3 Best Practices

- Use intialize.m to populate the Remora pull-down menu and create new windows with Remora-specific options and execute desired callback functions.

- Remoras should not populate existing Control, Plot or Message Windows with new buttons or objects as these could interfere with Triton’s built in functions.  Any new controls should be created in a Remora specific window.

- Large Remoras may have many callback functions.  If a Remora uses an additional control window, then it should be created in initialize.m with handles stored in the global structure REMORA.

- The REMORA structure should be used for all Remora specific variables, parameter and handles unless specifically manipulating shared data, parameters, and handles (i.e., Triton global structures DATA, PARAMS, HANDLES).

- Hardcoding figure handle numbers is discouraged. Oftentimes subroutines rely on figure handles in order to perform the correct task and it’s possible to run multiple figure-creating Remoras at the same time. Figure numbers can easily be stored in a subfield of the REMORA structure, which is recommended.

#### 3.2.5.4 Example Remora: Hello World

An example Remora, hello_world (see 3.2.5.1 above), is included in the \ExampleRemoras\ folder and can be copied and modified for user-specified data processing or presentation needs.

Two Triton ‘hooks’ are included in the hello_world initialize.m  Remora:

- Access to  plot xyz data via a mouse click (i.e., WindowButtonDownFcn Plot Window figure object)

- Set user-defined hot-keys via xml definition file.

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% initialize.m

% If the remora has been added through the Triton interface, This

% function

% is called at the start of every triton session. This file populates

% toolbars with remora specific options and callbacks.

%

% A best practice for remoras that have multiple m-files containing

% callbacks

% would be initializing new control windows and buttons here rather

% than in

% child m-files.

%

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% This should be in ever initialize function. HANDLES is the global

% varible that holds all the graphical buttons and windows of triton

global HANDLES REMORA PARAMS

% our "Hello World" button is added to the tool menu

REMORA.hello = uimenu(HANDLES.remmenu,'Label','Hello World', ...

'Callback', 'hello_world');

% allow "Hello World" Remora to use the mouse click down button in the

% main

% Plot Window (not the Hello World Window)

REMORA.pick.value = 1;

% define what function to run after picking in the main Plot Window

% put m-file name in REMORA.pick.fcn cell array in order of execution

REMORA.pick.fcn{1} = {'hello_pick'};

% Function for adding hotkey commands to the plot figure

xmlFile = which('keymapHello.xml');

PARAMS.keypress = xml_read(xmlFile);

set(HANDLES.fig.main,'KeyPressFcn',@handleKeypress)

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

#### 3.2.5.5 HARP Raw File Remora: HRP

A Remora for HARP raw file (format-specific) data processing operations is included in the \ExampleRemoras\ folder to work with raw HARP data and headers providing directory listing timing checks and a means of converting raw files to XWAVs.

Also, in the \Extras\ folder is dd.exe (see http://www.chrysocome.net/dd) which can be used to make disk images of raw disks form HARPs or other devices.

### 3.2.6 Help Menu

- In the Control Window, use Help pull-down menu to display Triton version number and User Manual (this document):

- Select About to display pop-up window showing current Triton version number, web site to download the most-recent versions of Triton, and an email address to report bugs or request support/enhancements:

- Select User Manual to view PDF of Triton User Manual included with the version of Triton currently being used.

## 3.3 Message Window

The third standard Triton window is the Message Window which displays useful information such as mouse cursor location and associated data values, provides a simple means of logging of mouse cursor selections from the Plot Window, and provides standard messages from Triton including error messages. The mouse cursor values can be saved to a text file and the messages can be saved to a different text file.

- File pull-down menu – see next section.

- Pickxyz function radio button toggle.  When on, mouse cursor cross-hairs are activated and left button mouse clicks in Plot Window are displayed in Pickxyz Display (section 4).

- Displays the current mouse cursor information when in the Plot Window.  Activated by right or left button mouse click in specific Plot Window (i.e., LTSA, spectrogram, timeseries, or spectra).  Background color is based on what plot the cursor is in: light green for LTSA’s, and light blue for spectrograms, spectra and time series.

- Pickxyz Display - Pickxyz data are displayed in a scrollable, editable display.   Information can be deleted, modified or added to including user defined notes.  The information in this window can be saved to output text files (*.pik) and previous saved *.pik files can be uploaded to the display for additional Pickxyz’s selections and modifications. In this way, it provides for a simple logging tool.

- Message Display - Information based on various operations including errors and warnings are displayed to the user in scrollable window.  Information in this display is not editable, but it can be saved to text files (*.msg) and used for session logging or software bug reporting.

### 3.3.1 File Menu

- Open Picks - Open previously saved Pickxyz files (*.pik).  All data in existing Pick Display will be lost. A warning message will pop up to inform the user of overwritten pick data.

Save Picks - Save current Pickxyz Display data to a *.pik ascii text file.

- Save Messages - Saves current Message Display to a *.msg ascii text file.
Clear Messages - Clears the current Message Display of all information.

# Appendix A1- HARP Raw Disk Format

HARP data loggers and their firmware have evolved over the years.  Originally, HARPs used Motorola’s 68300-series CPU and firmware version 1.17 to record non-compressed single channel

## Non-Compressed, Single Channel

| 1 Raw HARP disk 120 GB; Header; Disk Header; Sector 0. Sector 1. Sector 2. Directory Listing; Sector 3-7. Sector 8-x. Data; 1 Raw HARP file; Sector x+1. Sector x+2. . . .. Sector x+60,000. | Raw Disk Size; X; N. 120 GB; 263; 3873. 100 GB; 222; 3207. 80 GB; 181; ?. |
| --- | --- |

|  | Field Name PARAMS.head. | Length in Bytes | Start | End | Format | Example |
| --- | --- | --- | --- | --- | --- | --- |
| Disk Header |  |  |  |  |  |  |
| Sector 0 | disktype | 4 | 0 | 3 | uint8 | ‘HARP’ |
|  | unused | 7 | 4 | 10 | uint8 |  |
|  | disknumberSector0 | 2 | 11 | 12 | uint8 | 16 |
|  | unused | 499 | 13 | 511 | uint8 |  |
| Sector 1 | unused | 512 | 0 | 511 | uint8 |  |
| Sector 2 | nextFileSector | 4 | 0 | 3 | uint8 | 234420263 |
|  | (write_byte) | 2 | 4 | 5 | uint8 | 0 |
|  | unused | 4 | 6 | 9 | uint8 |  |
|  | unused | 2 | 10 | 11 | uint8 |  |
|  | firstDirSector | 4 | 12 | 15 | uint8 | 8 |
|  | maxFile | 4 | 16 | 19 | uint8 | 3908 |
|  | currDirSector | 4 | 20 | 23 | uint8 | 252 |
|  | nextFile | 4 | 24 | 27 | uint8 | 3907 |
|  | unused | 4 | 28 | 31 | uint8 |  |
|  | unused | 4 | 32 | 35 | uint8 |  |
|  | unused | 4 | 36 | 39 | uint8 |  |
|  | unused | 4 | 40 | 43 | uint8 |  |
|  | unused | 4 | 44 | 47 | uint8 |  |
|  | unused | 4 | 48 | 51 | uint8 |  |
|  | unused | 4 | 52 | 55 | uint8 |  |
|  | unused | 4 | 56 | 59 | uint8 |  |
|  | firstFileSector | 4 | 60 | 63 | uint8 | 263 |
|  | samplerate | 4 | 64 | 67 | uint8 | 200000 |
|  | disknumberSector2 | 2 | 68 | 69 | uint8 | 16 |
|  | firmwareVersion | 10 | 70 | 79 | uint8 | 1.17 |
|  | description | 80 | 80 | 159 | uint8 | “No Description” |
|  | unused | 2 | 160 | 161 | uint8 |  |
|  | unused | 2 | 162 | 163 | uint8 |  |
|  | unused | 2 | 164 | 165 | uint8 |  |
|  | unused | 2 | 166 | 167 | uint8 |  |
|  | unused | 2 | 168 | 169 | uint8 |  |
|  | unused | 2 | 170 | 171 | uint8 |  |
|  | disksizeSector | 4 | 172 | 175 | uint8 | 234441643 |
|  | unusedSector | 4 | 176 | 179 | uint8 | 21383 |
|  | unused | 2 | 180 | 181 | uint8 |  |
|  | unused | 2 | 182 | 183 | uint8 |  |
|  | unused | 328 | 184 | 511 | uint8 |  |

|  | Field Name PARAMS.head. | Length in Bytes | Start | End | Format | Example |
| --- | --- | --- | --- | --- | --- | --- |
| DIR List |  |  |  |  |  |  |
| Sector 8 these are PARAMS. head.dirlist | (year) | 1 | 0 | 0 | uint8 | 7 |
|  | (month) | 1 | 1 | 1 | uint8 | 15 |
|  | (Day) | 1 | 2 | 2 | uint8 | 31 |
|  | (hour) | 1 | 3 | 3 | uint8 | 23 |
|  | (min) | 1 | 4 | 4 | uint8 | 59 |
|  | (secs) | 1 | 5 | 5 | uint8 | 59 |
|  | (msecs) | 2 | 6 | 7 | uint8 | 999 |
|  | (blk_number) | 4 | 8 | 11 | uint8 | 120263 |
|  | (num_blocks) | 4 | 12 | 15 | uint8 | 60000 |
|  | (rec_length) | 4 | 16 | 19 | uint8 | 30720000 |
|  | (sample_rate) | 4 | 20 | 23 | uint8 | 200000 |
|  | unused | 2 | 24 | 25 | uint8 |  |
|  | spare | 6 | 26 | 31 | uint8 |  |
| DATA Repeated for each raw file, usually 60,000X |  |  |  |  |  |  |
| firstFile Sector | Year | 1 | 0 | 0 | uint8 | 7 |
|  | Month | 1 | 1 | 1 | uint8 | 15 |
|  | Day | 1 | 2 | 2 | uint8 | 31 |
|  | Hour | 1 | 3 | 3 | uint8 | 23 |
|  | Min | 1 | 4 | 4 | uint8 | 59 |
|  | Secs | 1 | 5 | 5 | uint8 | 59 |
|  | Msecs | 2 | 6 | 7 | uint8 | 999 |
|  | Unused | 2 | 8 | 9 | uint8 |  |
|  | Num_samples | 2 | 10 | 11 | uint8 | 250 |
|  | Data samples* | 500 | 12 | 511 | uint16 |  |

Notes

- 1 byte = 8 bits

- 1 sector=512 bytes

- 1 Rawfile = 60,000 sectors

- for additional information see comments in: read_rawHARPdir.m, read_rawHARPhead.m, and write_hrp2xwavs.m in the HRP Remora

- HARP Data are recorded with Motorola CPU (little Endian) and some 2 byte, 4 byte words need to be swapped at byte level

## Non-Compressed, Four Channel

<Insert table here>

## Compressed, Single Channel

<Insert table here>

# Appendix A2- XWAV File Format

| 1 XWAV file | Standard WAV header | RIFF header |
| --- | --- | --- |
|  |  | Format Chunk |
|  | Additional XWAV header | HARP Chunk |
|  | XWAV directory | HARP dir subchunk 1 |
|  |  | HARP dir subchunk 2 |
|  |  | . . . |
|  |  | HARP dir subchunk 30 |
|  | Data | Data Chunk 1 |
|  |  | Data Chunk 2 |
|  |  | . . . |
|  |  | Data Chunk 30 |

|  | Field Name PARAMS.xhd. precedes each | Length in Bytes | Start | End | Format | # of Elements | Example |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Standard WAV header |  |  |  |  |  |  |  |
| Riff Header | ChunkID | 4 | 0 | 3 | uchar | 4 | “RIFF” |
|  | ChunkSize | 4 | 4 | 7 | uint32 | 1 | filesize-8 |
|  | Format | 4 | 8 | 11 | uchar | 4 | “WAVE” |
| Format Chunk | fSubchunkID | 4 | 12 | 15 | uchar | 4 | “fmt “ |
|  | fSubchunkSize | 4 | 16 | 19 | uint32 | 1 | 16 |
|  | AudioFormat | 2 | 20 | 21 | uint16 | 1 | 1 |
|  | NumChannels | 2 | 22 | 23 | uint16 | 1 | 1 |
|  | SampleRate | 4 | 24 | 27 | uint32 | 1 | 200000 |
|  | ByteRate | 4 | 28 | 31 | uint32 | 1 | 400000 |
|  | BlockAlign | 2 | 32 | 33 | uint16 | 1 | 2 |
|  | BitsPerSample | 2 | 34 | 35 | uint16 | 1 | 16 |
| SUBTOTAL |  | 36 | 0 | 35 |  |  |  |
| Additional XWAV Header |  |  |  |  |  |  |  |
| HARP Chunk | hSubchunkID | 4 | 36 | 39 | uchar | 4 | “harp” |
|  | hSubchunkSize | 4 | 40 | 43 | uint32 | 1 | 56+30*32 |
|  | WavVersionNumber | 1 | 44 | 44 | uchar | 1 | 0 |
|  | FirmwareVersionNumber | 10 | 45 | 54 | uchar | 10 | 1.xxxyyyzz |
|  | InstrumentID | 4 | 55 | 58 | uchar | 4 | “01 “ |
|  | SiteName | 4 | 59 | 62 | uchar | 4 | “ABCD” |
|  | ExperimentName | 8 | 63 | 70 | uchar | 8 | “EXP12345” |
|  | DiskSequenceNumber | 1 | 71 | 71 | uchar | 1 | 1 |
|  | DiskSerialNumber | 8 | 72 | 79 | uchar | 8 | 12345678 |
|  | NumOfRawFiles | 2 | 80 | 81 | uint16 | 1 | 1 |
|  | Longitude | 4 | 82 | 85 | uint32 | 1 | -17912345 |
|  | Latitude | 4 | 86 | 89 | uint32 | 1 | 8912345 |
|  | Depth | 2 | 90 | 91 | uint16 | 1 | 5555 |
|  | Reserved | 8 | 92 | 99 | uchar | 8 | 00000000 |
| SUBTOTAL |  | 64 | 36 | 99 |  |  |  |

|  | Field Name PARAMS.xhd. precedes each | Length in Bytes | Start | End | Format | # of Elements | Example |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Additional XWAV Header cont. Repeated for each RawFile(k) n=32(k-1), usually 30 |  |  |  |  |  |  |  |
| HARP dir Subchunks | year(k) | 1 | 100+n | 100+n | uchar | 1 | 7 |
|  | month(k) | 1 | 101+n | 101+n | uchar | 1 | 12 |
|  | day(k) | 1 | 102+n | 102+n | uchar | 1 | 31 |
|  | hour(k) | 1 | 103+n | 103+n | uchar | 1 | 23 |
|  | minute(k) | 1 | 104+n | 104+n | uchar | 1 | 59 |
|  | secs(k) | 1 | 105+n | 105+n | uchar | 1 | 59 |
|  | ticks(k) | 2 | 106+n | 107+n | uint16 | 1 | 999 |
|  | byte_loc(k) | 4 | 108+n | 111+n | uint32 | 1 | 1066 |
|  | byte_length(k) | 4 | 112+n | 115+n | uint32 | 1 | 30000000 |
|  | write_length(k) | 4 | 116+n | 119+n | uint32 | 1 | 60000 |
|  | sample_rate(k) | 4 | 120+n | 123+n | uint32 | 1 | 200000 |
|  | gain(k) | 1 | 124+n | 124+n | uint8 | 1 | 1 |
|  | padding | 7 | 125+n | 131+n | uchar | 7 | 0000000 |
| SUBTOTAL |  | 32+n | 100 | 131+n |  |  |  |
| Data Chunk |  |  |  |  |  |  |  |
| Data Chunk | dSubchunkID | 4 | 132+n | 135+n | uchar | 4 | “data” |
|  | dSubchunkSize | 4 | 136+n | 137+n | uint32 | 1 | datasize |
|  | DATA |  | 138+n |  |  |  |  |

For additional information see comments in rdxwavhd.m, wrxwavhd.m, and initdata.m in Triton.

For typical full HARP XWAV files, file size will be 900,001,068 bytes or 30 raw files (n) 30,000,000 bytes/rawfiles & 1068 byte header.

# Appendix A3- Software Routines (*.m files)

TODO: separate based on page breaks!

| Name | Description |
| --- | --- |
| amp_spec_scaling | Adjust, save, or load plotting parameters from a text file |
| audvidplayer | Play sound of DATA vector (ie plotted data only) |
| bringToFront | Brings a list of Triton windows to the front |
| calc_ltsa | Calculate spectral averages and save to ltsa file |
| check_for_duplicate | Check to see if another file in the directory already has the query name |
| check_ltsa_time | Check to see if plot time is within file limits |
| check_path | Make sure Matlab path contains correct directories |
| check_time | Check time of start of plot based on PARAMS.plot.dvec time |
| ck_ltsaparams | Check user defined ltsa parameters and adjusts/gives suggestions of better parameters so that there is integer number of averages per xwav file, called by mk_ltsa. |
| control | Toggle on/off control window pull-down menus and buttons set and implement newtime, newtseg, newstep, coordinate display |
| control_ltsa | Toggle on/off control window pull-down menus and buttons set and implement newtime, newtseg, newstep, coordinate display |
| coorddisp | Display cursor values from Plot window in message window |
| ctrlParams | Saves and reads the control parameters as an asci text file. |
| decimatewav | Decimate WAV/XWAV file |
| decimatewav_dir | Decimate all WAV/XWAV files in directory |
| decompressRawHRP | Decompresses a raw HRP file |
| disp_msg | Display messages in message window |
| disp_pick | Display pickxyz in message window |
| displaybut | Display button operation |
| filepd | File pull-down menu options/operations |
| findjobj | Find java objects contained within a specified java container or Matlab GUI handle |
| get_headers | Open data files and read headers |
| get_ltsadir | Get directory of WAV/XWAV files |
| get_ltsaparams | Get parameters needed for generating LTSA’s from user |
| getIndexBin | Get time bin index in LTSA plot |
| handleKeypress | Handles keyboard shortcuts |
| hrp2xwav | Convert *.hrp files into *.wav files |
| init_coorddisp | Initializing cursor values |
| init_ltsadata | Initializing ltsa data stuff |
| init_ltsaparams | Initializing ltsa parameters |
| init_tslider | Sets up slider GUI with appropriate times when new file loaded |
| initcontrol | Initializing control window GUI |
| initdata | Initializing data and timing info |
| initparams | Initializing parameters |
| initpulldowns | Generate figure pull-down menus |
| initwins | Initialize plot, control and command (display) windows |
| little2big_2byte | Reads N x 2 array (a) and converts the 2 values from each row from little endian format to big endian format – array (b) |
| loadbar | Displays the loading bar |
| loadTF | Loads a transfer function to the PARAMS struct |
| logfmap | Return a matrix for premultiplying spectrograms to map the rows into a log frequency space |
| ltsa_delimiter | Displays delimiter between duty cycles in an LTSA |
| miscpd | Miscellaneous pulldown callbacks |
| mk_ltsa | Make LTSAs from XWAV files in a directory |
| mkspecgram | Make spectrogram plot from DATA |
| motion | Control motion of DATA plot with push button in control window |
| motion_ltsa | Control motion of DATA plot with push button in control window |
| open_TritonManual | Opens this file! |
| pickxwav | Turn on picking time in LTSA files and open corresponding xwav file (i.e. zoom in) |
| pickxyz | Pick x, y, z cursor data from plot window |
| plot_ltsa | Plot LTSA data in plot window |
| plot_params | Saves and reads control parameters as an ascii text file |
| plot_specgram | Plot spectrogram of data in plot window |
| plot_spectra | Plot spectra of data in plot window |
| plot_timeseries | Plot time series of data in plot window |
| plot_triton | Checks to see which plots are to be plotted and plots them |
| rdwavhd | Reads WAV file header |
| rdxwavhd | Reads XWAV file header |
| read_ltsadata | Read LTSA data |
| read_ltsahead | Read LTSA header and directories |
| readseg | Read a segment of data from opened file |
| remorapd | Initializes the loaded Remora pulldowns |
| rmFIFO | Removes FIFO noise |
| set_pointer | Sets the figure pointer |
| slider_change | Callback for the time slider change to edit in real time |
| stepPlotTimeLTSA | Changes start and end of LTSA plot if window is resized |
| timenum | Convert string time in format made from timestr.m (used to solve rounding problems created by datestr.m and outputs msecs and usecs) |
| timestr | Can be used instead of datestr.m to solve the rounding problems created by datestr.m and outputs msecs and usecs |
| toolpd | Tools pull-down menu operation |
| triton | MAIN |
| wavname2dnum | Converts an XWAV/WAV filename to date number |
| write_ltsahead | Setup values for ltsa file and write header & directories for new ltsa file |
| write_ltsahead | Writes the header for an LTSA file |
| wrxwavhd | Write XWAV header values to output files |
| xml_read | Converts an xml file to a MatLab struct tree |
| zoomChangeTime | Changes time labels after zooming in on the plot window |

Wiggins, S. M., Autonomous acoustic recording packages (ARP’s) for long-term monitoring of whale sounds, Marine Technology Society Journal, vol. 37(2), pp. 13-22, 2003.

2 Wiggins, S. M. and Hildebrand, J. A., High-frequency Acoustic Recording Package (HARP) for broad-band, long-term marine mammal monitoring. International Symposium on Underwater Technology 2007 and International Workshop on Scientific Use of Submarine Cables & Related Technologies 2007, Tokyo, Japan, Institute of Electrical and Electronics Engineers, pp. 551-557, 17-20 April, 2007.